## Hidden Data (hidden)
Double Line Plot Age Plateau |  |  | Double Line Plot K/Ca Plateau |  |  | X-Y Plot Normal Isochron |  | X-Y Plot Inverse Isochron |  | Error Ellipses Normal Isochron |  | Error Ellipses Inverse Isochron |  | Used Measurements for Blank Corrections
Ar39k% | Line 1 | Line 2 | Ar39k% | Line 1 | Line 2 | X-axis | Y-axis | X-axis | Y-axis | X-axis | Y-axis | X-axis | Y-axis | Filename | Included | 36Ar | 1σ | 37Ar | 1σ | 38Ar | 1σ | 39Ar | 1σ | 40Ar | 1σ | Date | Filename | Included | 40Ar/39Ar | 1σ | J-value | 1σ | Date | X | Y | H
0 | -94.3977 | 26.6648 | 0 | -0.041579 | 0.09443 | 4.3241 | 244.2759 | 0.017702 | 0.0040937 | 4.8626 | 281.9902 | 0.045137 | 0.0041075
0.3235 | -94.3977 | 26.6648 | 0.3235 | -0.041579 | 0.09443 | 0.082732 | 291.52 | 0.00028379 | 0.0034303 | 6.578 | 280.6804 | 0.044203 | 0.0039435
0.3235 | 200.7865 | -484.1044 | 0.3235 | 0.64241 | -0.79915 | 4.5429 | 299.1885 | 0.015184 | 0.0033424 | 8.1399 | 276.8896 | 0.041462 | 0.0037897
0.56072 | 200.7865 | -484.1044 | 0.56072 | 0.64241 | -0.79915 | 8.8376 | 261.5067 | 0.033795 | 0.003824 | 9.4417 | 270.8763 | 0.037102 | 0.0036567
0.56072 | -20.5285 | 25.1246 | 0.56072 | -0.0058434 | 0.027684 | 9.6122 | 296.1783 | 0.032454 | 0.0033763 | 10.3948 | 263.0502 | 0.03142 | 0.0035534
0.96896 | -20.5285 | 25.1246 | 0.96896 | -0.0058434 | 0.027684 | 12.9542 | 317.493 | 0.040802 | 0.0031497 | 10.9342 | 253.9447 | 0.024803 | 0.0034869
0.96896 | 2.5612 | -24.4153 | 0.96896 | 0.44204 | -0.24015 | 53.8765 | 391.5598 | 0.13759 | 0.0025539 | 11.023 | 244.1803 | 0.017702 | 0.0034618
1.7676 | 2.5612 | -24.4153 | 1.7676 | 0.44204 | -0.24015 | 49.709 | 349.4898 | 0.14223 | 0.0028613 | 10.6554 | 234.4223 | 0.010601 | 0.0034798
1.7676 | -7.7242 | 8.1239 | 1.7676 | -0.19116 | 0.4297 | 52.0559 | 340.3641 | 0.15294 | 0.002938 | 9.8563 | 225.3359 | 0.003984 | 0.0035396
2.9473 | -7.7242 | 8.1239 | 2.9473 | -0.19116 | 0.4297 | 68.7061 | 320.9839 | 0.21405 | 0.0031154 | 8.6802 | 217.5402 | -0.0016982 | 0.0036372
2.9473 | 13.0644 | -3.4603 | 2.9473 | 0.095337 | -0.0046863 | 83.9684 | 356.1131 | 0.23579 | 0.0028081 | 7.2072 | 211.5665 | -0.0060583 | 0.0037658
4.125 | 13.0644 | -3.4603 | 4.125 | 0.095337 | -0.0046863 | 81.0376 | 360.453 | 0.22482 | 0.0027743 | 5.5378 | 207.8219 | -0.0087992 | 0.0039169
4.125 | 2.2116 | 7.8738 | 4.125 | 0.023396 | 0.041886 | 87.8112 | 353.0448 | 0.24873 | 0.0028325 | 3.7856 | 206.5616 | -0.0097341 | 0.0040799
7.6208 | 2.2116 | 7.8738 | 7.6208 | 0.023396 | 0.041886 |  |  |  |  | 2.0701 | 207.8714 | -0.0087994 | 0.004244
7.6208 | 8.7049 | -2.5579 | 7.6208 | 0.095869 | 0.0059959 |  |  |  |  | 0.50827 | 211.6622 | -0.0060586 | 0.0043977
9.215 | 8.7049 | -2.5579 | 9.215 | 0.095869 | 0.0059959 |  |  |  |  | -0.79356 | 217.6755 | -0.0016986 | 0.0045308
9.215 | 1.2879 | 3.5907 | 9.215 | 0.029573 | 0.038132 |  |  |  |  | -1.7466 | 225.5016 | 0.0039835 | 0.0046341
17.3856 | 1.2879 | 3.5907 | 17.3856 | 0.029573 | 0.038132 |  |  |  |  | -2.286 | 234.6071 | 0.0106 | 0.0047005
17.3856 | 2.1628 | -0.062419 | 17.3856 | 0.046271 | 0.034887 |  |  |  |  | -2.3749 | 244.3716 | 0.017701 | 0.0047256
26.2324 | 2.1628 | -0.062419 | 26.2324 | 0.046271 | 0.034887 |  |  |  |  | -2.0072 | 254.1295 | 0.024802 | 0.0047077
26.2324 | 1.3191 | 2.7676 | 26.2324 | 0.03798 | 0.045647 |  |  |  |  | -1.2081 | 263.2159 | 0.031419 | 0.0046479
39.3845 | 1.3191 | 2.7676 | 39.3845 | 0.03798 | 0.045647 |  |  |  |  | -0.032038 | 271.0116 | 0.037101 | 0.0045503
39.3845 | 2.9345 | 1.6028 | 39.3845 | 0.040163 | 0.034759 |  |  |  |  | 1.4409 | 276.9853 | 0.041462 | 0.0044216
54.4574 | 2.9345 | 1.6028 | 54.4574 | 0.040163 | 0.034759 |  |  |  |  | 3.1104 | 280.7299 | 0.044202 | 0.0042706
54.4574 | 1.597 | 2.1132 | 54.4574 | 0.036929 | 0.038848 |  |  |  |  | 4.8626 | 281.9902 | 0.045137 | 0.0041075
100 | 1.597 | 2.1132 | 100 | 0.036929 | 0.038848 |  |  |  |  | 6.578 | 280.6804 | 0.044203 | 0.0039435
[10 empty] | 0.083473 | 294.2051 | 0.00091414 | 0.0034303
[10 empty] | 0.13101 | 294.1136 | 0.00089266 | 0.0034221
[10 empty] | 0.17525 | 293.8453 | 0.00082969 | 0.0034145
[10 empty] | 0.21319 | 293.4186 | 0.00072952 | 0.003408
[10 empty] | 0.24224 | 292.8625 | 0.00059897 | 0.0034029
[10 empty] | 0.26042 | 292.2149 | 0.00044694 | 0.0033998
[10 empty] | 0.26649 | 291.5199 | 0.00028379 | 0.0033987
[10 empty] | 0.26004 | 290.8249 | 0.00012065 | 0.0033998
[10 empty] | 0.2415 | 290.1773 | -3.1379e-05 | 0.0034029
[10 empty] | 0.21215 | 289.6212 | -0.00016193 | 0.003408
[10 empty] | 0.17397 | 289.1945 | -0.0002621 | 0.0034145
[10 empty] | 0.12958 | 288.9263 | -0.00032507 | 0.0034221
[10 empty] | 0.081991 | 288.8348 | -0.00034655 | 0.0034303
[10 empty] | 0.034456 | 288.9263 | -0.00032507 | 0.0034385
[10 empty] | -0.0097892 | 289.1946 | -0.0002621 | 0.0034461
[10 empty] | -0.047729 | 289.6213 | -0.00016193 | 0.0034526
[10 empty] | -0.076778 | 290.1774 | -3.1379e-05 | 0.0034577
[10 empty] | -0.094957 | 290.825 | 0.00012065 | 0.0034608
[10 empty] | -0.10103 | 291.52 | 0.00028379 | 0.0034619
[10 empty] | -0.094574 | 292.215 | 0.00044694 | 0.0034608
[10 empty] | -0.076038 | 292.8626 | 0.00059897 | 0.0034577
[10 empty] | -0.046682 | 293.4187 | 0.00072952 | 0.0034526
[10 empty] | -0.0085061 | 293.8454 | 0.00082969 | 0.0034461
[10 empty] | 0.035887 | 294.1136 | 0.00089266 | 0.0034385
[10 empty] | 0.083473 | 294.2051 | 0.00091414 | 0.0034303
[10 empty] | 0.13101 | 294.1136 | 0.00089266 | 0.0034221
[10 empty] | 5.0243 | 335.8849 | 0.035806 | 0.0033483
[10 empty] | 6.6044 | 334.6135 | 0.035104 | 0.003242
[10 empty] | 8.0439 | 330.928 | 0.033043 | 0.0031426
[10 empty] | 9.2449 | 325.0795 | 0.029766 | 0.0030567
[10 empty] | 10.1255 | 317.4666 | 0.025495 | 0.0029904
[10 empty] | 10.6256 | 308.608 | 0.020522 | 0.002948
[10 empty] | 10.7111 | 299.1075 | 0.015184 | 0.0029325
[10 empty] | 10.3764 | 289.6126 | 0.0098468 | 0.0029449
[10 empty] | 9.644 | 280.7702 | 0.0048732 | 0.0029844
[10 empty] | 8.5641 | 273.183 | 0.00060215 | 0.0030483
[10 empty] | 7.2101 | 267.368 | -0.0026751 | 0.0031323
[10 empty] | 5.6744 | 263.7215 | -0.0047353 | 0.0032305
[10 empty] | 4.0615 | 262.4921 | -0.005438 | 0.0033364
[10 empty] | 2.4815 | 263.7634 | -0.0047354 | 0.0034427
[10 empty] | 1.0419 | 267.4489 | -0.0026752 | 0.0035422
[10 empty] | -0.15908 | 273.2974 | 0.00060198 | 0.003628
[10 empty] | -1.0396 | 280.9103 | 0.0048729 | 0.0036944
[10 empty] | -1.5397 | 289.7689 | 0.0098466 | 0.0037368
[10 empty] | -1.6253 | 299.2694 | 0.015184 | 0.0037523
[10 empty] | -1.2905 | 308.7643 | 0.020521 | 0.0037399
[10 empty] | -0.55821 | 317.6067 | 0.025495 | 0.0037003
[10 empty] | 0.52174 | 325.194 | 0.029766 | 0.0036364
[10 empty] | 1.8757 | 331.0089 | 0.033043 | 0.0035525
[10 empty] | 3.4115 | 334.6554 | 0.035104 | 0.0034542
[10 empty] | 5.0243 | 335.8849 | 0.035806 | 0.0033483
[10 empty] | 6.6044 | 334.6135 | 0.035104 | 0.003242
[10 empty] | 9.6974 | 293.0765 | 0.056961 | 0.0038422
[10 empty] | 11.2337 | 291.9582 | 0.056171 | 0.0037222
[10 empty] | 12.6067 | 288.7646 | 0.053857 | 0.0036091
[10 empty] | 13.7228 | 283.7134 | 0.050176 | 0.0035107
[10 empty] | 14.506 | 277.1489 | 0.045378 | 0.0034336
[10 empty] | 14.9029 | 269.5184 | 0.039791 | 0.0033831
[10 empty] | 14.8865 | 261.3419 | 0.033795 | 0.0033627
[10 empty] | 14.4578 | 253.1766 | 0.027799 | 0.0033737
[10 empty] | 13.6462 | 245.579 | 0.022212 | 0.0034154
[10 empty] | 12.5068 | 239.0669 | 0.017414 | 0.0034849
[10 empty] | 11.1174 | 234.0839 | 0.013733 | 0.0035776
[10 empty] | 9.5726 | 230.9698 | 0.011418 | 0.003687
[10 empty] | 7.9777 | 229.9368 | 0.010629 | 0.0038058
[10 empty] | 6.4415 | 231.0551 | 0.011418 | 0.0039258
[10 empty] | 5.0685 | 234.2487 | 0.013732 | 0.0040389
[10 empty] | 3.9523 | 239.2999 | 0.017414 | 0.0041373
[10 empty] | 3.1691 | 245.8644 | 0.022211 | 0.0042144
[10 empty] | 2.7722 | 253.4949 | 0.027799 | 0.0042649
[10 empty] | 2.7886 | 261.6714 | 0.033794 | 0.0042853
[10 empty] | 3.2173 | 269.8367 | 0.03979 | 0.0042743
[10 empty] | 4.0289 | 277.4343 | 0.045377 | 0.0042326
[10 empty] | 5.1683 | 283.9464 | 0.050175 | 0.004163
[10 empty] | 6.5577 | 288.9294 | 0.053857 | 0.0040704
[10 empty] | 8.1025 | 292.0435 | 0.056171 | 0.003961
[10 empty] | 9.6974 | 293.0765 | 0.056961 | 0.0038422
[10 empty] | 11.2337 | 291.9582 | 0.056171 | 0.0037222
[10 empty] | 10.3582 | 323.1236 | 0.046843 | 0.0033869
[10 empty] | 11.4343 | 322.175 | 0.046352 | 0.0033071
[10 empty] | 12.3862 | 319.4547 | 0.044915 | 0.003232
[10 empty] | 13.149 | 315.1482 | 0.042628 | 0.0031668
[10 empty] | 13.6709 | 309.5489 | 0.039648 | 0.0031158
[10 empty] | 13.9161 | 303.0384 | 0.036178 | 0.0030826
[10 empty] | 13.868 | 296.0604 | 0.032454 | 0.0030694
[10 empty] | 13.5299 | 289.0905 | 0.02873 | 0.0030771
[10 empty] | 12.9248 | 282.6036 | 0.02526 | 0.0031052
[10 empty] | 12.0939 | 277.0417 | 0.02228 | 0.0031518
[10 empty] | 11.094 | 272.784 | 0.019993 | 0.0032137
[10 empty] | 9.993 | 270.1206 | 0.018556 | 0.0032866
[10 empty] | 8.8661 | 269.2329 | 0.018065 | 0.0033657
[10 empty] | 7.79 | 270.1816 | 0.018556 | 0.0034456
[10 empty] | 6.8381 | 272.9018 | 0.019993 | 0.0035207
[10 empty] | 6.0753 | 277.2084 | 0.02228 | 0.0035859
[10 empty] | 5.5535 | 282.8077 | 0.025259 | 0.0036369
[10 empty] | 5.3083 | 289.3181 | 0.02873 | 0.0036701
[10 empty] | 5.3563 | 296.2961 | 0.032454 | 0.0036833
[10 empty] | 5.6944 | 303.2661 | 0.036178 | 0.0036756
[10 empty] | 6.2995 | 309.753 | 0.039648 | 0.0036475
[10 empty] | 7.1304 | 315.3148 | 0.042628 | 0.0036009
[10 empty] | 8.1304 | 319.5726 | 0.044915 | 0.003539
[10 empty] | 9.2313 | 322.236 | 0.046352 | 0.003466
[10 empty] | 10.3582 | 323.1236 | 0.046843 | 0.0033869
[10 empty] | 11.4343 | 322.175 | 0.046352 | 0.0033071
[10 empty] | 14.3435 | 356.2167 | 0.060181 | 0.0031638
[10 empty] | 15.8855 | 354.8402 | 0.059521 | 0.0030639
[10 empty] | 17.2278 | 350.9186 | 0.057585 | 0.0029699
[10 empty] | 18.2789 | 344.719 | 0.054505 | 0.0028882
[10 empty] | 18.967 | 336.6641 | 0.050492 | 0.0028243
[10 empty] | 19.2455 | 327.3026 | 0.045818 | 0.0027825
[10 empty] | 19.0951 | 317.2727 | 0.040802 | 0.0027658
[10 empty] | 18.5263 | 307.2578 | 0.035786 | 0.0027752
[10 empty] | 17.5778 | 297.9404 | 0.031112 | 0.0028102
[10 empty] | 16.3141 | 289.9555 | 0.027098 | 0.0028682
[10 empty] | 14.8215 | 283.8472 | 0.024019 | 0.0029455
[10 empty] | 13.2017 | 280.0318 | 0.022082 | 0.0030367
[10 empty] | 11.5649 | 278.7694 | 0.021422 | 0.0031356
[10 empty] | 10.0229 | 280.1459 | 0.022082 | 0.0032354
[10 empty] | 8.6806 | 284.0675 | 0.024018 | 0.0033294
[10 empty] | 7.6296 | 290.2671 | 0.027098 | 0.0034112
[10 empty] | 6.9414 | 298.322 | 0.031112 | 0.0034751
[10 empty] | 6.663 | 307.6834 | 0.035785 | 0.0035168
[10 empty] | 6.8133 | 317.7134 | 0.040801 | 0.0035336
[10 empty] | 7.3821 | 327.7283 | 0.045817 | 0.0035241
[10 empty] | 8.3306 | 337.0457 | 0.050491 | 0.0034892
[10 empty] | 9.5943 | 345.0306 | 0.054505 | 0.0034311
[10 empty] | 11.0869 | 351.1389 | 0.057585 | 0.0033538
[10 empty] | 12.7068 | 354.9542 | 0.059521 | 0.0032627
[10 empty] | 14.3435 | 356.2167 | 0.060181 | 0.0031638
[10 empty] | 15.8855 | 354.8402 | 0.059521 | 0.0030639
[10 empty] | 62.2786 | 457.9882 | 0.16002 | 0.0025974
[10 empty] | 64.2184 | 455.4432 | 0.15926 | 0.0024843
[10 empty] | 65.4534 | 448.5446 | 0.15702 | 0.002376
[10 empty] | 65.8995 | 437.7626 | 0.15345 | 0.0022798
[10 empty] | 65.5262 | 423.8319 | 0.14881 | 0.0022023
[10 empty] | 64.359 | 407.7019 | 0.1434 | 0.0021487
[10 empty] | 62.4774 | 390.4719 | 0.1376 | 0.0021227
[10 empty] | 60.0097 | 373.3161 | 0.13179 | 0.0021262
[10 empty] | 57.124 | 357.4035 | 0.12638 | 0.0021588
[10 empty] | 54.017 | 343.8186 | 0.12174 | 0.0022183
[10 empty] | 50.9005 | 333.4872 | 0.11817 | 0.0023006
[10 empty] | 47.9867 | 327.1133 | 0.11593 | 0.0024003
[10 empty] | 45.4743 | 325.1314 | 0.11517 | 0.0025104
[10 empty] | 43.5346 | 327.6765 | 0.11593 | 0.0026235
[10 empty] | 42.2996 | 334.5751 | 0.11817 | 0.0027318
[10 empty] | 41.8535 | 345.3571 | 0.12174 | 0.002828
[10 empty] | 42.2268 | 359.2877 | 0.12638 | 0.0029055
[10 empty] | 43.394 | 375.4177 | 0.13179 | 0.0029591
[10 empty] | 45.2756 | 392.6477 | 0.13759 | 0.002985
[10 empty] | 47.7433 | 409.8036 | 0.1434 | 0.0029816
[10 empty] | 50.6289 | 425.7162 | 0.14881 | 0.002949
[10 empty] | 53.7359 | 439.301 | 0.15345 | 0.0028895
[10 empty] | 56.8525 | 449.6325 | 0.15702 | 0.0028071
[10 empty] | 59.7662 | 456.0063 | 0.15926 | 0.0027075
[10 empty] | 62.2786 | 457.9882 | 0.16002 | 0.0025974
[10 empty] | 64.2184 | 455.4432 | 0.15926 | 0.0024843
[10 empty] | 63.817 | 461.7908 | 0.19044 | 0.0029799
[10 empty] | 67.5942 | 457.4293 | 0.1888 | 0.0027399
[10 empty] | 70.1525 | 445.712 | 0.18398 | 0.0025081
[10 empty] | 71.3176 | 427.4372 | 0.17632 | 0.0023004
[10 empty] | 71.0101 | 403.8505 | 0.16634 | 0.0021309
[10 empty] | 69.251 | 376.5591 | 0.15471 | 0.0020112
[10 empty] | 66.1601 | 347.4231 | 0.14224 | 0.0019494
[10 empty] | 61.9481 | 318.4279 | 0.12976 | 0.0019498
[10 empty] | 56.902 | 291.5495 | 0.11813 | 0.0020123
[10 empty] | 51.3658 | 268.6196 | 0.10815 | 0.0021326
[10 empty] | 45.7166 | 251.2009 | 0.10048 | 0.0023026
[10 empty] | 40.3395 | 240.4805 | 0.095667 | 0.0025107
[10 empty] | 35.6009 | 237.1888 | 0.094024 | 0.0027427
[10 empty] | 31.8237 | 241.5503 | 0.095666 | 0.0029828
[10 empty] | 29.2654 | 253.2677 | 0.10048 | 0.0032145
[10 empty] | 28.1003 | 271.5424 | 0.10814 | 0.0034222
[10 empty] | 28.4078 | 295.1291 | 0.11813 | 0.0035917
[10 empty] | 30.1669 | 322.4205 | 0.12975 | 0.0037114
[10 empty] | 33.2578 | 351.5565 | 0.14223 | 0.0037732
[10 empty] | 37.4698 | 380.5517 | 0.15471 | 0.0037728
[10 empty] | 42.5159 | 407.4301 | 0.16634 | 0.0037103
[10 empty] | 48.0522 | 430.36 | 0.17632 | 0.00359
[10 empty] | 53.7013 | 447.7787 | 0.18398 | 0.00342
[10 empty] | 59.0784 | 458.4991 | 0.1888 | 0.0032119
[10 empty] | 63.817 | 461.7908 | 0.19044 | 0.0029799
[10 empty] | 67.5942 | 457.4293 | 0.1888 | 0.0027399
[10 empty] | 55.2734 | 364.0199 | 0.16382 | 0.0029643
[10 empty] | 56.0971 | 363.0869 | 0.16345 | 0.002911
[10 empty] | 56.6453 | 360.6054 | 0.16236 | 0.0028595
[10 empty] | 56.8808 | 356.7445 | 0.16063 | 0.0028134
[10 empty] | 56.7875 | 351.7673 | 0.15838 | 0.0027758
[10 empty] | 56.3717 | 346.0129 | 0.15576 | 0.0027492
[10 empty] | 55.6618 | 339.8736 | 0.15294 | 0.0027355
[10 empty] | 54.7062 | 333.7677 | 0.15013 | 0.0027356
[10 empty] | 53.57 | 328.1114 | 0.1475 | 0.0027495
[10 empty] | 52.3306 | 323.2901 | 0.14525 | 0.0027762
[10 empty] | 51.0724 | 319.6323 | 0.14352 | 0.002814
[10 empty] | 49.8813 | 317.3873 | 0.14243 | 0.0028602
[10 empty] | 48.8384 | 316.7082 | 0.14206 | 0.0029117
[10 empty] | 48.0147 | 317.6412 | 0.14243 | 0.002965
[10 empty] | 47.4665 | 320.1227 | 0.14352 | 0.0030165
[10 empty] | 47.231 | 323.9837 | 0.14525 | 0.0030626
[10 empty] | 47.3243 | 328.9609 | 0.1475 | 0.0031003
[10 empty] | 47.7401 | 334.7152 | 0.15013 | 0.0031269
[10 empty] | 48.45 | 340.8545 | 0.15294 | 0.0031406
[10 empty] | 49.4056 | 346.9604 | 0.15576 | 0.0031405
[10 empty] | 50.5418 | 352.6168 | 0.15838 | 0.0031266
[10 empty] | 51.7812 | 357.4381 | 0.16063 | 0.0030998
[10 empty] | 53.0394 | 361.0959 | 0.16236 | 0.0030621
[10 empty] | 54.2305 | 363.3408 | 0.16345 | 0.0030159
[10 empty] | 55.2734 | 364.0199 | 0.16382 | 0.0029643
[10 empty] | 56.0971 | 363.0869 | 0.16345 | 0.002911
[10 empty] | 74.2541 | 349.9345 | 0.22846 | 0.003163
[10 empty] | 75.2036 | 348.7298 | 0.22797 | 0.0030896
[10 empty] | 75.7103 | 345.6343 | 0.22653 | 0.0030181
[10 empty] | 75.7396 | 340.8589 | 0.22424 | 0.0029531
[10 empty] | 75.2897 | 334.7291 | 0.22125 | 0.0028992
[10 empty] | 74.391 | 327.6626 | 0.21778 | 0.0028601
[10 empty] | 73.105 | 320.1409 | 0.21405 | 0.0028384
[10 empty] | 71.5192 | 312.6766 | 0.21032 | 0.0028355
[10 empty] | 69.7416 | 305.7785 | 0.20684 | 0.0028517
[10 empty] | 67.8935 | 299.9166 | 0.20386 | 0.0028859
[10 empty] | 66.1008 | 295.4904 | 0.20157 | 0.0029357
[10 empty] | 64.4856 | 292.8016 | 0.20013 | 0.0029978
[10 empty] | 63.1581 | 292.0333 | 0.19964 | 0.0030679
[10 empty] | 62.2086 | 293.2379 | 0.20013 | 0.0031412
[10 empty] | 61.7019 | 296.3334 | 0.20157 | 0.0032128
[10 empty] | 61.6726 | 301.1088 | 0.20386 | 0.0032777
[10 empty] | 62.1225 | 307.2386 | 0.20684 | 0.0033316
[10 empty] | 63.0212 | 314.3052 | 0.21032 | 0.0033707
[10 empty] | 64.3072 | 321.8269 | 0.21405 | 0.0033925
[10 empty] | 65.893 | 329.2911 | 0.21778 | 0.0033953
[10 empty] | 67.6706 | 336.1892 | 0.22125 | 0.0033791
[10 empty] | 69.5187 | 342.0511 | 0.22424 | 0.0033449
[10 empty] | 71.3114 | 346.4773 | 0.22653 | 0.0032951
[10 empty] | 72.9266 | 349.1662 | 0.22797 | 0.003233
[10 empty] | 74.2541 | 349.9345 | 0.22846 | 0.003163
[10 empty] | 75.2036 | 348.7298 | 0.22797 | 0.0030896
[10 empty] | 89.3324 | 381.1696 | 0.24739 | 0.0028407
[10 empty] | 90.1585 | 380.0998 | 0.247 | 0.0027891
[10 empty] | 90.5628 | 377.3954 | 0.24584 | 0.0027388
[10 empty] | 90.5177 | 373.2406 | 0.24399 | 0.0026932
[10 empty] | 90.0263 | 367.9186 | 0.24159 | 0.0026555
[10 empty] | 89.122 | 361.7921 | 0.23879 | 0.0026282
[10 empty] | 87.8666 | 355.2786 | 0.23579 | 0.0026131
[10 empty] | 86.3454 | 348.8219 | 0.23279 | 0.0026113
[10 empty] | 84.6623 | 342.8621 | 0.22999 | 0.0026229
[10 empty] | 82.932 | 337.8054 | 0.22759 | 0.0026472
[10 empty] | 81.2722 | 333.9963 | 0.22575 | 0.0026824
[10 empty] | 79.7962 | 331.6944 | 0.22459 | 0.0027262
[10 empty] | 78.6045 | 331.0566 | 0.22419 | 0.0027755
[10 empty] | 77.7784 | 332.1263 | 0.22459 | 0.0028271
[10 empty] | 77.3741 | 334.8308 | 0.22575 | 0.0028774
[10 empty] | 77.4192 | 338.9855 | 0.22759 | 0.002923
[10 empty] | 77.9106 | 344.3075 | 0.22999 | 0.0029607
[10 empty] | 78.8149 | 350.434 | 0.23279 | 0.002988
[10 empty] | 80.0703 | 356.9475 | 0.23579 | 0.0030031
[10 empty] | 81.5914 | 363.4042 | 0.23879 | 0.0030049
[10 empty] | 83.2745 | 369.364 | 0.24159 | 0.0029932
[10 empty] | 85.0049 | 374.4207 | 0.24399 | 0.002969
[10 empty] | 86.6647 | 378.2299 | 0.24584 | 0.0029338
[10 empty] | 88.1407 | 380.5318 | 0.247 | 0.00289
[10 empty] | 89.3324 | 381.1696 | 0.24739 | 0.0028407
[10 empty] | 90.1585 | 380.0998 | 0.247 | 0.0027891
[10 empty] | 85.6603 | 382.9914 | 0.23364 | 0.0028032
[10 empty] | 86.2819 | 382.0637 | 0.23334 | 0.002758
[10 empty] | 86.546 | 379.6632 | 0.23246 | 0.0027138
[10 empty] | 86.4347 | 375.9535 | 0.23106 | 0.0026738
[10 empty] | 85.9557 | 371.1876 | 0.22923 | 0.0026406
[10 empty] | 85.1415 | 365.69 | 0.22711 | 0.0026165
[10 empty] | 84.0476 | 359.8356 | 0.22482 | 0.0026032
[10 empty] | 82.7486 | 354.0233 | 0.22254 | 0.0026015
[10 empty] | 81.333 | 348.6491 | 0.22041 | 0.0026116
[10 empty] | 79.8972 | 344.0794 | 0.21858 | 0.0026328
[10 empty] | 78.5392 | 340.6255 | 0.21718 | 0.0026637
[10 empty] | 77.3514 | 338.5228 | 0.2163 | 0.002702
[10 empty] | 76.4149 | 337.9146 | 0.216 | 0.0027453
[10 empty] | 75.7933 | 338.8423 | 0.2163 | 0.0027906
[10 empty] | 75.5292 | 341.2428 | 0.21718 | 0.0028348
[10 empty] | 75.6404 | 344.9525 | 0.21858 | 0.0028748
[10 empty] | 76.1195 | 349.7184 | 0.22041 | 0.002908
[10 empty] | 76.9337 | 355.2159 | 0.22254 | 0.0029321
[10 empty] | 78.0276 | 361.0704 | 0.22482 | 0.0029454
[10 empty] | 79.3266 | 366.8827 | 0.2271 | 0.0029471
[10 empty] | 80.7422 | 372.2569 | 0.22923 | 0.0029369
[10 empty] | 82.178 | 376.8266 | 0.23106 | 0.0029158
[10 empty] | 83.536 | 380.2805 | 0.23246 | 0.0028849
[10 empty] | 84.7238 | 382.3832 | 0.23334 | 0.0028465
[10 empty] | 85.6603 | 382.9914 | 0.23364 | 0.0028032
[10 empty] | 86.2819 | 382.0637 | 0.23334 | 0.002758
[10 empty] | 90.0045 | 362.4315 | 0.2521 | 0.0028435
[10 empty] | 90.2191 | 362.0441 | 0.25198 | 0.0028239
[10 empty] | 90.2695 | 361.0434 | 0.25165 | 0.0028048
[10 empty] | 90.1525 | 359.4975 | 0.25111 | 0.0027876
[10 empty] | 89.8758 | 357.512 | 0.25041 | 0.0027735
[10 empty] | 89.4585 | 355.222 | 0.2496 | 0.0027634
[10 empty] | 88.9289 | 352.7837 | 0.24873 | 0.002758
[10 empty] | 88.3232 | 350.3631 | 0.24785 | 0.0027577
[10 empty] | 87.6825 | 348.1253 | 0.24704 | 0.0027624
[10 empty] | 87.0506 | 346.2227 | 0.24634 | 0.002772
[10 empty] | 86.4706 | 344.7851 | 0.2458 | 0.0027857
[10 empty] | 85.9819 | 343.9104 | 0.24547 | 0.0028026
[10 empty] | 85.6179 | 343.6581 | 0.24535 | 0.0028215
[10 empty] | 85.4033 | 344.0455 | 0.24547 | 0.0028411
[10 empty] | 85.3529 | 345.0463 | 0.2458 | 0.0028602
[10 empty] | 85.47 | 346.5921 | 0.24634 | 0.0028774
[10 empty] | 85.7466 | 348.5776 | 0.24704 | 0.0028915
[10 empty] | 86.1639 | 350.8676 | 0.24785 | 0.0029016
[10 empty] | 86.6935 | 353.306 | 0.24873 | 0.002907
[10 empty] | 87.2993 | 355.7265 | 0.2496 | 0.0029073
[10 empty] | 87.9399 | 357.9643 | 0.25041 | 0.0029026
[10 empty] | 88.5718 | 359.8669 | 0.25111 | 0.002893
[10 empty] | 89.1518 | 361.3045 | 0.25165 | 0.0028793
[10 empty] | 89.6405 | 362.1793 | 0.25198 | 0.0028624
[10 empty] | 90.0045 | 362.4315 | 0.2521 | 0.0028435
[10 empty] | 90.2191 | 362.0441 | 0.25198 | 0.0028239

## Age Summary
Relative Abundances |  |  | 36Ar [fA] | %1s | 37Ar [fA] | %1s | 38Ar [fA] | %1s | 39Ar [fA] | %1s | 40Ar [fA] | %1s | 40(r)/39(k) | ± 2s | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s
[15 empty] | (Ma) |  | (%) | (%)
18D25765 | 1.5 |  | 0.0062633 | 6.4134 | 0.43243 | 102.7828 | 0.0045805 | 529.3184 | 0.026852 | 76.6025 | 1.5013 | 3.6115 | -11.8462 | 20.9757 | -33.8664 | 60.5313 | -20.9695 | 0.3235 | 0.026425 | 0.068004
18D25767 | 3.5 |  | 0.23551 | 0.44973 | -0.10692 | 446.253 | 0.05537 | 45.6093 | 0.019418 | 111.4387 | 68.664 | 0.082943 | -48.1078 | 111.7998 | -141.6589 | 342.4454 | -1.3653 | 0.23722 | -0.078369 | 0.72078
18D25768 | 5.5 |  | 0.0077449 | 5.0941 | 1.3205 | 35.8592 | 0.02773 | 90.2104 | 0.034384 | 66.1821 | 2.2086 | 2.4563 | 0.81191 | 8.0698 | 2.2981 | 22.8266 | 1.2328 | 0.40825 | 0.01092 | 0.016764
18D25770 | 8.1 |  | 0.0075018 | 4.9919 | 0.27947 | 165.4591 | 0.012872 | 191.346 | 0.065788 | 34.0591 | 1.9414 | 2.8549 | -3.8465 | 4.7337 | -10.927 | 13.4883 | -12.9988 | 0.79868 | 0.10095 | 0.34109
18D25771 | 10.7 |  | 0.010179 | 3.9329 | 0.34938 | 128.2507 | 0.013251 | 194.354 | 0.097133 | 22.036 | 2.9861 | 1.8653 | 0.070565 | 2.7981 | 0.19984 | 7.924 | 0.22901 | 1.1797 | 0.11927 | 0.31043
18D25773 | 13.1 |  | 0.0077203 | 5.2209 | 0.91778 | 49.8499 | 0.021429 | 112.701 | 0.09733 | 23.4913 | 2.3711 | 2.3048 | 1.6978 | 2.925 | 4.802 | 8.2624 | 6.9269 | 1.1777 | 0.045325 | 0.050012
18D25774 | 15.2 |  | 0.0063617 | 6.4807 | 3.783 | 11.877 | 0.044726 | 54.4894 | 0.2896 | 7.647 | 2.0872 | 2.6338 | 1.783 | 1.0024 | 5.0427 | 2.8311 | 24.5306 | 3.4958 | 0.032641 | 0.0092449
18D25776 | 15.8 | 4 | 0.0029334 | 12.7426 | 1.1056 | 41.1575 | 0.0021183 | 1102.7482 | 0.13167 | 15.7902 | 0.92082 | 5.9254 | 1.0861 | 1.9917 | 3.0735 | 5.6314 | 15.4468 | 1.5942 | 0.050932 | 0.044937
18D25777 | 18.3 | 4 | 0.015202 | 2.6229 | 8.5255 | 5.3749 | 0.030901 | 79.7869 | 0.67667 | 3.298 | 4.3889 | 1.2614 | 0.86184 | 0.40707 | 2.4393 | 1.1514 | 13.18 | 8.1706 | 0.033853 | 0.0042792
18D25779 | 20.6 | 4 | 0.01266 | 3.3646 | 7.701 | 6.3583 | 0.017033 | 142.6585 | 0.73168 | 2.9397 | 3.3956 | 1.6019 | 0.37091 | 0.39307 | 1.0502 | 1.1126 | 7.9383 | 8.8468 | 0.040579 | 0.005692
18D25780 | 22.5 | 4 | 0.015873 | 2.5721 | 11.1106 | 4.0484 | 0.030451 | 78.6739 | 1.0875 | 2.1362 | 4.5827 | 1.1939 | 0.72186 | 0.25601 | 2.0433 | 0.72425 | 17.0183 | 13.1522 | 0.041814 | 0.0038336
18D25782 | 24 | 4 | 0.019124 | 2.2755 | 14.2127 | 3.1904 | 0.032374 | 78.7317 | 1.2473 | 1.6686 | 5.5082 | 1.0116 | 0.80152 | 0.23539 | 2.2687 | 0.66584 | 18.0174 | 15.0729 | 0.037461 | 0.0027018
18D25784 | 26.5 | 4 | 0.054088 | 0.97812 | 42.4588 | 1.1292 | 0.08887 | 26.2628 | 3.7684 | 0.56849 | 15.0436 | 0.36318 | 0.65532 | 0.091232 | 1.8551 | 0.25813 | 16.2971 | 45.5426 | 0.037888 | 0.00095942
|  | S | 0.40116 | 0.44507 | 92.0898 | 1.8072 | 0.38171 | 23.1536 | 8.2738 | 0.95225 | 115.5995 | 0.17169
Information on Analysis and Constants Used in Calculations | [8 empty] | Results |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s
[15 empty] | (Ma) |  |  | (%,n)
Project = MCCLAUGHRY (18-09) |  |  |  | Age Equations = Min et al. (2000) |  |  |  |  | Age Plateau |  |  |  | 0.67438 | 0.077566 | 1.909 | 0.21947 | 0.97648 | 92.3792 | 0.037945 | 0.0011473
Sample = 51-MCB-DRJ-17 |  |  |  | Negative Intensities = Allowed | [9 empty] | 11.5% |  | 11.5% | 43.04% | 6
Material = Amphibole |  |  |  | Collector Calibrations = 36Ar |  |  |  |  | Full External Error | [6 empty] | 0.22366 | 2.2649 | 2σ Confidence Limit
Location = Mill Creek Buttes |  |  |  | Decay 40K = 5.530 ± 0.048 E-10 1/a |  |  |  |  | Analytical Error | [6 empty] | 0.21945 | 1 | Error Magnification
Region = Eastern Cascades |  |  |  | Decay 39Ar = 2.940 ± 0.016 E-07 1/h
Analyst = Dan Miggins |  |  |  | Decay 37Ar = 8.230 ± 0.012 E-04 1/h |  |  |  |  | Total Fusion Age |  |  |  | 0.53806 | 0.1414 | 1.5233 | 0.40015 |  | 13 | 0.038357 | 0.0015696
Irradiation = 18-OSU-04 (4C21-18) |  |  |  | Decay 36Cl = 2.257 ± 0.015 E-06 1/a | [9 empty] | 26.28% |  | 26.27%
Position = X: 999 ¦ Y: 999 ¦ Z/H: 33.22 mm |  |  |  | Decay 40K(EC,β⁺) = 0.580 ± 0.009 E-10 1/a |  |  |  |  | Full External Error | [6 empty] | 0.40162
FCT-NM Age = 28.201 ± 0.023 Ma |  |  |  | Decay 40K(β⁻) = 4.950 ± 0.043 E-10 1/a |  |  |  |  | Analytical Error | [6 empty] | 0.40014
FCT-NM Reference = Kuiper et al (2008) |  |  |  | Atmospheric 40/36(a) = 295.50
FCT-NM 40Ar/39Ar Ratio = 10.03521 ± 0.00743 |  |  |  | Atmospheric 38/36(a) = 0.1869 |  |  |  |  | Normal Isochron |  | 314.7553 | 54.0527 | 0.44002 | 0.65292 | 1.2458 | 1.8479 | 1.1168 | 92.3792
FCT-NM J-value = 0.00156622 ± 0.00000116 |  |  |  | Production 39/37(ca) = 0.0006425 ± 0.0000059 | [7 empty] | 17.17% |  | 148.4% |  | 148.3% | 34.65% | 6
Air Shot 40Ar/36Ar = 305.3060 ± 0.3236 |  |  |  | Production 38/37(ca) = 0.0001800 ± 0.0000173 |  |  |  |  | Full External Error | [6 empty] | 1.8482 | 2.4142 | 2σ Confidence Limit
Air Shot MDF = 0.99195997 ± 0.00062903 (LIN) |  |  |  | Production 36/37(ca) = 0.0002703 ± 0.0000005 |  |  |  |  | Analytical Error | [6 empty] | 1.8479 | 1.0568 | Error Magnification
Experiment Type = Incremental Heating |  |  |  | Production 40/39(k) = 0.000607 ± 0.000059 | [11 empty] | 6 |  | Number of Iterations
Extraction Method = Bulk Laser Heating |  |  |  | Production 38/39(k) = 0.012077 ± 0.000011 | [11 empty] | 1.6688e-06 |  | Convergence
Heating = 64 sec |  |  |  | Production 36/38(cl) = 262.80 ± 1.71
Isolation = 5.10 min |  |  |  | Scaling Ratio K/Ca = 0.430 |  |  |  |  | Inverse Isochron Clustered Points |  | 317.7206 | 52.345 | 0.4095 | 0.32317 | 1.1594 | 0.9147 | 1.0104 | 92.3792
Instrument = ARGUS-VI-D |  |  |  | Abundance Ratio 40K/K = 1.1700 ± 0.0100 E-04 | [7 empty] | 16.48% |  | 78.92% |  | 78.89% | 40.04% | 6
Preferred Age = Plateau Age |  |  |  | Atomic Weight K = 39.0983 ± 0.0001 g |  |  |  |  | Full External Error | [6 empty] | 0.91507 | 2.4142 | 2σ Confidence Limit
Age Classification = Eruption Age | [8 empty] | Analytical Error | [6 empty] | 0.91469 | 1.0052 | Error Magnification
IGSN = Undefined | [15 empty] | 4 |  | Number of Iterations
Rock Class = Undefined | [15 empty] | 3.1131e-05 |  | Convergence
Lithology = Undefined | [15 empty] | 4.361% |  | Spreading Factor
Lat-Lon = Undefined - Undefined

## Incremental Heating Table
Incremental Heating |  |  | 36Ar(a) [fA] | 37Ar(ca) [fA] | 38Ar(cl) [fA] | 39Ar(k) [fA] | 40Ar(r) [fA] | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s
[8 empty] | (Ma) |  | (%) | (%)
18D25765 | 1.5 |  | 0.0061457 | 0.43243 | 0.0030331 | 0.026574 | -0.31481 | -33.8664 | 60.5313 | -20.9695 | 0.3235 | 0.026425 | 0.068004
18D25767 | 3.5 |  | 0.23554 | -0.10692 | 0.011132 | 0.019486 | -0.93745 | -141.6589 | 342.4454 | -1.3653 | 0.23722 | -0.078369 | 0.72078
18D25768 | 5.5 |  | 0.007382 | 1.3205 | 0.025707 | 0.033536 | 0.027228 | 2.2981 | 22.8266 | 1.2328 | 0.40825 | 0.01092 | 0.016764
18D25770 | 8.1 |  | 0.0074238 | 0.27947 | 0.010642 | 0.065608 | -0.25236 | -10.927 | 13.4883 | -12.9988 | 0.79868 | 0.10095 | 0.34109
18D25771 | 10.7 |  | 0.010082 | 0.34938 | 0.010134 | 0.096908 | 0.0068383 | 0.19984 | 7.924 | 0.22901 | 1.1797 | 0.11927 | 0.31043
18D25773 | 13.1 |  | 0.0074679 | 0.91778 | 0.0187 | 0.096741 | 0.16424 | 4.802 | 8.2624 | 6.9269 | 1.1777 | 0.045325 | 0.050012
18D25774 | 15.2 |  | 0.0053301 | 3.783 | 0.03958 | 0.28716 | 0.512 | 5.0427 | 2.8311 | 24.5306 | 3.4958 | 0.032641 | 0.0092449
18D25776 | 15.8 | 4 | 0.0026345 | 1.1056 | 0 | 0.13096 | 0.14224 | 3.0735 | 5.6314 | 15.4468 | 1.5942 | 0.050932 | 0.044937
18D25777 | 18.3 | 4 | 0.012894 | 8.5255 | 0.01885 | 0.67119 | 0.57846 | 2.4393 | 1.1514 | 13.18 | 8.1706 | 0.033853 | 0.0042792
18D25779 | 20.6 | 4 | 0.010577 | 7.701 | 0.0048931 | 0.72673 | 0.26955 | 1.0502 | 1.1126 | 7.9383 | 8.8468 | 0.040579 | 0.005692
18D25780 | 22.5 | 4 | 0.012867 | 11.1106 | 0.012999 | 1.0804 | 0.77989 | 2.0433 | 0.72425 | 17.0183 | 13.1522 | 0.041814 | 0.0038336
18D25782 | 24 | 4 | 0.015279 | 14.2127 | 0.012006 | 1.2382 | 0.99242 | 2.2687 | 0.66584 | 18.0174 | 15.0729 | 0.037461 | 0.0027018
18D25784 | 26.5 | 4 | 0.042605 | 42.4588 | 0.028083 | 3.7412 | 2.4517 | 1.8551 | 0.25813 | 16.2971 | 45.5426 | 0.037888 | 0.00095942
|  | S | 0.37623 | 92.0898 | 0.19576 | 8.2146 | 4.4199
Information on Analysis |  |  |  | Results |  | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s
[8 empty] | (Ma) |  |  | (%,n)
Project = MCCLAUGHRY (18-09) |  |  |  | Age Plateau |  | 0.67438 | 0.077566 | 1.909 | 0.21947 | 0.97648 | 92.3792 | 0.037945 | 0.0011473
Sample = 51-MCB-DRJ-17 | [6 empty] | 11.5% |  | 11.5% | 43.04% | 6
Material = Amphibole |  |  |  | Full External Error |  |  |  |  | 0.22366 | 2.2649 | 2σ Confidence Limit
Location = Mill Creek Buttes |  |  |  | Analytical Error |  |  |  |  | 0.21945 | 1 | Error Magnification
Region = Eastern Cascades
Analyst = Dan Miggins |  |  |  | Total Fusion Age |  | 0.53806 | 0.1414 | 1.5233 | 0.40015 |  | 13 | 0.038357 | 0.0015696
Irradiation = 18-OSU-04 (4C21-18) | [6 empty] | 26.28% |  | 26.27%
J = 0.00156622 ± 0.00000116 |  |  |  | Full External Error |  |  |  |  | 0.40162
FCT-NM = 28.201 ± 0.023 Ma |  |  |  | Analytical Error |  |  |  |  | 0.40014

## Normal Isochron Table
Normal Isochron |  |  | 39(k)/36(a) | ± 2s | 40(a+r)/36(a) | ± 2s |  |  | r.i.
18D25765 | 1.5 |  | 4.3241 | 6.7206 | 244.2759 | 37.7144 |  |  | 0.077595
18D25767 | 3.5 |  | 0.082732 | 0.18376 | 291.52 | 2.6851 |  |  | 0.0040123
18D25768 | 5.5 |  | 4.5429 | 6.187 | 299.1885 | 36.6965 |  |  | 0.075613
18D25770 | 8.1 |  | 8.8376 | 6.1097 | 261.5067 | 31.5703 |  |  | 0.13556
18D25771 | 10.7 |  | 9.6122 | 4.3207 | 296.1783 | 26.9456 |  |  | 0.16836
18D25773 | 13.1 |  | 12.9542 | 6.2961 | 317.493 | 38.7243 |  |  | 0.2151
18D25774 | 15.2 |  | 53.8765 | 12.0238 | 391.5598 | 66.4373 |  |  | 0.68699
18D25776 | 15.8 | 4 | 49.709 | 21.6721 | 349.4898 | 112.32 |  |  | 0.6369
18D25777 | 18.3 | 4 | 52.0559 | 4.8327 | 340.3641 | 23.6609 |  |  | 0.65017
18D25779 | 20.6 | 4 | 68.7061 | 7.0803 | 320.9839 | 28.9629 |  |  | 0.76517
18D25780 | 22.5 | 4 | 83.9684 | 6.6307 | 356.1131 | 25.0704 |  |  | 0.78893
18D25782 | 24 | 4 | 81.0376 | 5.5163 | 360.453 | 22.5469 |  |  | 0.82276
18D25784 | 26.5 | 4 | 87.8112 | 2.4617 | 353.0448 | 9.3903 |  |  | 0.87801
Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD
(Ma)
Normal Isochron |  |  | 314.7553 | 54.0527 | 0.44002 | 0.65292 | 1.2458 | 1.8479 | 1.1168
|  |  |  | 17.17% |  | 148.4% |  | 148.3% | 34.65%
Full External Error | [7 empty] | 1.8482
Analytical Error | [7 empty] | 1.8479
Statistics |  |  | 2σ Confidence Limit | 2.4142 |  | Convergence | 1.6688e-06
|  |  | Error Magnification | 1.0568 |  | Number of Iterations | 6
|  |  | Number of Data Points | 6 |  | Calculated Line | Weighted York-2

## Inverse Isochron Table
Inverse Isochron |  |  | 39(k)/40(a+r) | ± 2s | 36(a)/40(a+r) | ± 2s |  |  | r.i.
18D25765 | 1.5 |  | 0.017702 | 0.027436 | 0.0040937 | 0.00063204 |  |  | 0.021803
18D25767 | 3.5 |  | 0.00028379 | 0.00063035 | 0.0034303 | 3.1596e-05 |  |  | 0.00013451
18D25768 | 5.5 |  | 0.015184 | 0.020622 | 0.0033424 | 0.00040995 |  |  | 0.014488
18D25770 | 8.1 |  | 0.033795 | 0.023166 | 0.003824 | 0.00046165 |  |  | 0.039398
18D25771 | 10.7 |  | 0.032454 | 0.014389 | 0.0033763 | 0.00030717 |  |  | 0.034505
18D25773 | 13.1 |  | 0.040802 | 0.01938 | 0.0031497 | 0.00038416 |  |  | 0.036682
18D25774 | 15.2 |  | 0.13759 | 0.022427 | 0.0025539 | 0.00043333 |  |  | 0.10035
18D25776 | 15.8 | 4 | 0.14223 | 0.048209 | 0.0028613 | 0.00091958 |  |  | 0.12895
18D25777 | 18.3 | 4 | 0.15294 | 0.010879 | 0.002938 | 0.00020424 |  |  | 0.12874
18D25779 | 20.6 | 4 | 0.21405 | 0.014409 | 0.0031154 | 0.00028111 |  |  | 0.16904
18D25780 | 22.5 | 4 | 0.23579 | 0.0116 | 0.0028081 | 0.00019769 |  |  | 0.16466
18D25782 | 24 | 4 | 0.22482 | 0.0088222 | 0.0027743 | 0.00017354 |  |  | 0.16681
18D25784 | 26.5 | 4 | 0.24873 | 0.0033737 | 0.0028325 | 7.5339e-05 |  |  | 0.14628
Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD
(Ma)
Inverse Isochron Clustered Points |  |  | 317.7206 | 52.345 | 0.4095 | 0.32317 | 1.1594 | 0.9147 | 1.0104
|  |  |  | 16.48% |  | 78.92% |  | 78.89% | 40.04%
Full External Error | [7 empty] | 0.91507
Analytical Error | [7 empty] | 0.91469
Statistics |  |  | 2σ Confidence Limit | 2.4142 |  | Convergence | 3.1131e-05
|  |  | Error Magnification | 1.0052 |  | Number of Iterations | 4
|  |  | Number of Data Points | 6 |  | Calculated Line | Weighted York-2
|  |  | Spreading Factor | 4.361%

## Degassing Patterns
Degassing Patterns |  |  | 36Ar(a) [fA] | %1s | 36Ar(c) [fA] | %1s | 36Ar(ca) [fA] | %1s | 36Ar(cl) [fA] | %1s | 37Ar(ca) [fA] | %1s | 38Ar(a) [fA] | %1s | 38Ar(c) [fA] | %1s | 38Ar(k) [fA] | %1s | 38Ar(ca) [fA] | %1s | 38Ar(cl) [fA] | %1s | 39Ar(k) [fA] | %1s | 39Ar(ca) [fA] | %1s | 40Ar(r) [fA] | %1s | 40Ar(a) [fA] | %1s | 40Ar(c) [fA] | %1s | 40Ar(k) [fA] | %1s
18D25765 | 1.5 |  | 0.0061457 | 6.8227 | 0 | 0 | 0.00011688 | 102.7829 | 6.9581e-07 | 799.4436 | 0.43243 | 102.7828 | 0.0011486 | 6.8227 | 0 | 0 | 0.00032094 | 77.4109 | 7.7837e-05 | 103.2329 | 0.0030331 | 799.4442 | 0.026574 | 77.4108 | 0.00027783 | 102.7869 | -0.31481 | 42.9619 | 1.816 | 6.8227 | 0 | 0 | 1.6131e-05 | 78.01
18D25767 | 3.5 |  | 0.23554 | 0.45301 | 0 | 0 | -2.89e-05 | 446.2531 | 2.554e-06 | 226.8924 | -0.10692 | 446.253 | 0.044022 | 0.45301 | 0 | 0 | 0.00023534 | 111.057 | -1.9246e-05 | 446.3569 | 0.011132 | 226.8943 | 0.019486 | 111.057 | -6.8696e-05 | 446.254 | -0.93745 | 34.1781 | 69.6015 | 0.45301 | 0 | 0 | 1.1828e-05 | 111.4754
18D25768 | 5.5 |  | 0.007382 | 5.6193 | 0 | 0 | 0.00035693 | 35.8596 | 5.8982e-06 | 97.3228 | 1.3205 | 35.8592 | 0.0013797 | 5.6193 | 0 | 0 | 0.00040501 | 67.8626 | 0.00023769 | 37.1297 | 0.025707 | 97.3272 | 0.033536 | 67.8625 | 0.00084842 | 35.871 | 0.027228 | 492.3068 | 2.1814 | 5.6193 | 0 | 0 | 2.0356e-05 | 68.5452
18D25770 | 8.1 |  | 0.0074238 | 5.3184 | 0 | 0 | 7.5541e-05 | 165.4592 | 2.4418e-06 | 231.4746 | 0.27947 | 165.4591 | 0.0013875 | 5.3184 | 0 | 0 | 0.00079235 | 34.1555 | 5.0305e-05 | 165.7391 | 0.010642 | 231.4765 | 0.065608 | 34.1554 | 0.00017956 | 165.4616 | -0.25236 | 51.1838 | 2.1937 | 5.3184 | 0 | 0 | 3.9824e-05 | 35.4924
18D25771 | 10.7 |  | 0.010082 | 4.1488 | 0 | 0 | 9.4438e-05 | 128.2508 | 2.3254e-06 | 254.1737 | 0.34938 | 128.2507 | 0.0018843 | 4.1488 | 0 | 0 | 0.0011704 | 22.0893 | 6.2889e-05 | 128.6117 | 0.010134 | 254.1754 | 0.096908 | 22.0891 | 0.00022448 | 128.254 | 0.0068383 | 1982.5332 | 2.9792 | 4.1488 | 0 | 0 | 5.8823e-05 | 24.105
18D25773 | 13.1 |  | 0.0074679 | 5.6461 | 0 | 0 | 0.00024808 | 49.8502 | 4.2916e-06 | 129.1685 | 0.91778 | 49.8499 | 0.0013957 | 5.6461 | 0 | 0 | 0.0011683 | 23.6366 | 0.0001652 | 50.7716 | 0.0187 | 129.1718 | 0.096741 | 23.6364 | 0.00058967 | 49.8584 | 0.16424 | 82.8378 | 2.2068 | 5.6461 | 0 | 0 | 5.8722e-05 | 25.5304
18D25774 | 15.2 |  | 0.0053301 | 8.0644 | 0 | 0 | 0.0010225 | 11.8782 | 9.0839e-06 | 61.5868 | 3.783 | 11.877 | 0.00099619 | 8.0644 | 0 | 0 | 0.0034681 | 7.713 | 0.00068094 | 15.2905 | 0.03958 | 61.5937 | 0.28716 | 7.7124 | 0.0024306 | 11.9126 | 0.512 | 27.0316 | 1.575 | 8.0644 | 0 | 0 | 0.00017431 | 12.3533
18D25776 | 15.8 | 4 | 0.0026345 | 14.9366 | 0 | 0 | 0.00029885 | 41.1578 | 0 | 0 | 1.1056 | 41.1575 | 0.00049239 | 14.9366 | 0 | 0 | 0.0015816 | 15.8777 | 0.00019901 | 42.2691 | 0 | 0 | 0.13096 | 15.8775 | 0.00071037 | 41.1678 | 0.14224 | 90.304 | 0.7785 | 14.9366 | 0 | 0 | 7.9492e-05 | 18.58
18D25777 | 18.3 | 4 | 0.012894 | 3.2388 | 0 | 0 | 0.0023044 | 5.3776 | 4.3269e-06 | 130.8122 | 8.5255 | 5.3749 | 0.0024098 | 3.2388 | 0 | 0 | 0.0081059 | 3.3264 | 0.0015346 | 11.0284 | 0.01885 | 130.8154 | 0.67119 | 3.3252 | 0.0054776 | 5.4531 | 0.57846 | 23.3812 | 3.8101 | 3.2388 | 0 | 0 | 0.00040741 | 10.2068
18D25779 | 20.6 | 4 | 0.010577 | 4.2175 | 0 | 0 | 0.0020816 | 6.3605 | 1.1233e-06 | 496.6609 | 7.701 | 6.3583 | 0.0019769 | 4.2175 | 0 | 0 | 0.0087767 | 2.9614 | 0.0013862 | 11.5397 | 0.0048931 | 496.6617 | 0.72673 | 2.9601 | 0.0049479 | 6.4245 | 0.26955 | 52.9044 | 3.1256 | 4.2175 | 0 | 0 | 0.00044113 | 10.0938
18D25780 | 22.5 | 4 | 0.012867 | 3.3113 | 0 | 0 | 0.0030032 | 4.052 | 2.9842e-06 | 184.3373 | 11.1106 | 4.0484 | 0.0024048 | 3.3113 | 0 | 0 | 0.013048 | 2.1524 | 0.0019999 | 10.4464 | 0.012999 | 184.3396 | 1.0804 | 2.1505 | 0.0071385 | 4.1516 | 0.77989 | 17.6016 | 3.8021 | 3.3113 | 0 | 0 | 0.0006558 | 9.8867
18D25782 | 24 | 4 | 0.015279 | 2.9594 | 0 | 0 | 0.0038417 | 3.195 | 2.7566e-06 | 212.3254 | 14.2127 | 3.1904 | 0.0028557 | 2.9594 | 0 | 0 | 0.014954 | 1.6835 | 0.0025583 | 10.1447 | 0.012006 | 212.3274 | 1.2382 | 1.6811 | 0.0091317 | 3.3204 | 0.99242 | 14.5875 | 4.515 | 2.9594 | 0 | 0 | 0.00075158 | 9.7953
18D25784 | 26.5 | 4 | 0.042605 | 1.2793 | 0 | 0 | 0.011477 | 1.1419 | 6.4484e-06 | 83.1673 | 42.4588 | 1.1292 | 0.0079628 | 1.2793 | 0 | 0 | 0.045182 | 0.57976 | 0.0076426 | 9.696 | 0.028083 | 83.1724 | 3.7412 | 0.57273 | 0.02728 | 1.4565 | 2.4517 | 6.9373 | 12.5897 | 1.2793 | 0 | 0 | 0.0022709 | 9.667
|  | S | 0.37623 | 0.48947 | 0 | 0 | 0.024892 | 1.8094 | 4.493e-05 | 43.5473 | 92.0898 | 1.8072 | 0.070317 | 0.48947 | 0 | 0 | 0.099208 | 0.96031 | 0.016576 | 5.3089 | 0.19576 | 43.5504 | 8.2146 | 0.9592 | 0.059168 | 1.8691 | 4.4199 | 13.1049 | 111.1746 | 0.48947 | 0 | 0 | 0.0049863 | 5.0482
|  | S | [6 empty] | 0.40116 | 0.4726 | 92.0898 | 1.8072 | [8 empty] | 0.38186 | 22.3287 |  |  | 8.2738 | 0.95243 | [6 empty] | 115.5995 | 0.6875

## Additional Parameters
Additional Parameters |  |  | 40Ar/39Ar | 1s | 37Ar/39Ar | 1s | 36Ar/39Ar | 1s | Time (days) | 37Ar (decay) | 39Ar (decay) | 40Ar (moles)
18D25765 | 1.5 |  | 55.9081 | 42.8745 | 16.1039 | 20.6433 | 0.23325 | 0.1793 | 141.2618 | 16.3246 | 1.001 | 7.206e-14
18D25767 | 3.5 |  | 3536.1403 | 3940.6289 | -5.5063 | 25.3266 | 12.1287 | 13.5161 | 141.2764 | 16.3293 | 1.001 | 3.2959e-12
18D25768 | 5.5 |  | 64.2338 | 42.5406 | 38.404 | 28.9077 | 0.22524 | 0.14951 | 141.2833 | 16.3315 | 1.001 | 1.0601e-13
18D25770 | 8.1 |  | 29.5102 | 10.0862 | 4.248 | 7.1761 | 0.11403 | 0.039253 | 141.2972 | 16.336 | 1.001 | 9.3188e-14
18D25771 | 10.7 |  | 30.7422 | 6.7986 | 3.5969 | 4.6807 | 0.10479 | 0.023457 | 141.3042 | 16.3382 | 1.001 | 1.4333e-13
18D25773 | 13.1 |  | 24.361 | 5.7502 | 9.4295 | 5.1964 | 0.07932 | 0.019088 | 141.3181 | 16.3427 | 1.001 | 1.1381e-13
18D25774 | 15.2 |  | 7.2073 | 0.58292 | 13.063 | 1.8453 | 0.021967 | 0.002202 | 141.325 | 16.345 | 1.001 | 1.0019e-13
18D25776 | 15.8 | 4 | 6.9934 | 1.1795 | 8.397 | 3.7016 | 0.022278 | 0.0045204 | 141.3396 | 16.3497 | 1.001 | 4.4199e-14
18D25777 | 18.3 | 4 | 6.4861 | 0.22902 | 12.5993 | 0.79452 | 0.022467 | 0.00094671 | 141.3465 | 16.3519 | 1.001 | 2.1067e-13
18D25779 | 20.6 | 4 | 4.6408 | 0.15537 | 10.525 | 0.73728 | 0.017303 | 0.00077308 | 141.3604 | 16.3564 | 1.001 | 1.6299e-13
18D25780 | 22.5 | 4 | 4.2138 | 0.10312 | 10.2162 | 0.46765 | 0.014595 | 0.000488 | 141.3674 | 16.3586 | 1.001 | 2.1997e-13
18D25782 | 24 | 4 | 4.416 | 0.086169 | 11.3947 | 0.41026 | 0.015332 | 0.00043262 | 141.3812 | 16.3631 | 1.001 | 2.6439e-13
18D25784 | 26.5 | 4 | 3.992 | 0.02693 | 11.2669 | 0.14244 | 0.014353 | 0.00016238 | 141.3958 | 16.3678 | 1.001 | 7.2209e-13

## Procedure Blanks
Procedure Blanks |  | 36Ar ± 1σ (SE) [fA] |  | 37Ar ± 1σ (SE) [fA] |  | 38Ar ± 1σ (SE) [fA] |  | 39Ar ± 1σ (SE) [fA] |  | 40Ar ± 1σ (SE) [fA]
18D25765 | 1.5 | 0.017196 | 0.00024485 | -0.044882 | 0.019541 | -0.06119 | 0.016742 | -0.034389 | 0.01529 | 4.7322 | 0.051704
18D25767 | 3.5 | 0.016864 | 0.00024485 | -0.063551 | 0.019541 | -0.06845 | 0.016742 | -0.02585 | 0.01529 | 4.8675 | 0.051704
18D25768 | 5.5 | 0.016769 | 0.00024485 | -0.067569 | 0.019541 | -0.071245 | 0.016742 | -0.02498 | 0.01529 | 4.8416 | 0.051704
18D25770 | 8.1 | 0.016664 | 0.00024485 | -0.068564 | 0.019541 | -0.074481 | 0.016742 | -0.027149 | 0.01529 | 4.7053 | 0.051704
18D25771 | 10.7 | 0.016642 | 0.00024485 | -0.066412 | 0.019541 | -0.074706 | 0.016742 | -0.029391 | 0.01529 | 4.6228 | 0.051704
18D25773 | 13.1 | 0.016637 | 0.00024485 | -0.058836 | 0.019541 | -0.072341 | 0.016742 | -0.034436 | 0.01529 | 4.4802 | 0.051704
18D25774 | 15.2 | 0.016643 | 0.00024485 | -0.054159 | 0.019541 | -0.069942 | 0.016742 | -0.036633 | 0.01529 | 4.433 | 0.051704
18D25776 | 15.8 | 0.016658 | 0.00024485 | -0.044306 | 0.019541 | -0.063367 | 0.016742 | -0.039128 | 0.01529 | 4.4009 | 0.051704
18D25777 | 18.3 | 0.016659 | 0.00024485 | -0.040256 | 0.019541 | -0.060143 | 0.016742 | -0.038872 | 0.01529 | 4.4152 | 0.051704
18D25779 | 20.6 | 0.016639 | 0.00024485 | -0.034822 | 0.019541 | -0.055582 | 0.016742 | -0.034757 | 0.01529 | 4.4757 | 0.051704
18D25780 | 22.5 | 0.016615 | 0.00024485 | -0.033933 | 0.019541 | -0.055263 | 0.016742 | -0.030679 | 0.01529 | 4.5045 | 0.051704
18D25782 | 24 | 0.016536 | 0.00024485 | -0.036894 | 0.019541 | -0.061598 | 0.016742 | -0.018174 | 0.01529 | 4.4969 | 0.051704
18D25784 | 26.5 | 0.01641 | 0.00024485 | -0.048114 | 0.019541 | -0.0836 | 0.016742 | 0.0012395 | 0.01529 | 4.2718 | 0.051704

## Intercept Values
Intercept Values |  | 36Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 37Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 38Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 39Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n) |  | 40Ar ± 1σ (SE) [fA] |  | r2 | Regression (type,n)
18D25765 | 1.5 | 0.023081 | 0.00028687 | 0.84303 | EXP | 150 of 150 | -0.019031 | 0.018004 | 3.678e-05 | EXP | 150 of 150 | -0.056683 | 0.016995 | 0.0012092 | EXP | 150 of 150 | -0.0077784 | 0.01348 | 0.16047 | EXP | 148 of 150 | 6.2335 | 0.016317 | 0.99959 | EXP | 147 of 150
18D25767 | 3.5 | 0.23817 | 0.00077494 | 0.62237 | EXP | 150 of 150 | -0.069941 | 0.020768 | 0.0087047 | EXP | 150 of 150 | -0.01397 | 0.018361 | 1.8363e-05 | EXP | 150 of 150 | -0.006607 | 0.015035 | 0.20609 | EXP | 146 of 150 | 73.5315 | 0.023878 | 0.99705 | EXP | 150 of 150
18D25768 | 5.5 | 0.024046 | 0.00027774 | 0.86353 | EXP | 148 of 150 | 0.011339 | 0.020462 | 0.015016 | EXP | 149 of 150 | -0.043962 | 0.018042 | 4.4191e-05 | EXP | 150 of 150 | 0.0090942 | 0.016576 | 0.15161 | EXP | 150 of 150 | 7.0502 | 0.016426 | 0.99944 | EXP | 150 of 150
18D25770 | 8.1 | 0.023713 | 0.00025208 | 0.86661 | EXP | 149 of 150 | -0.051868 | 0.019526 | 0.018344 | EXP | 149 of 150 | -0.061816 | 0.017521 | 0.0011341 | EXP | 148 of 150 | 0.038046 | 0.016102 | 0.12861 | EXP | 150 of 150 | 6.6467 | 0.019968 | 0.99897 | EXP | 150 of 150
18D25771 | 10.7 | 0.026207 | 0.0002845 | 0.82948 | EXP | 148 of 150 | -0.045542 | 0.01829 | 0.035357 | EXP | 150 of 150 | -0.061668 | 0.019022 | 0.0028334 | EXP | 149 of 150 | 0.066866 | 0.014701 | 0.12473 | EXP | 150 of 150 | 7.6089 | 0.020713 | 0.99877 | EXP | 150 of 150
18D25773 | 13.1 | 0.023891 | 0.00028836 | 0.80408 | EXP | 149 of 150 | -0.0040299 | 0.019092 | 0.0017826 | EXP | 149 of 150 | -0.051256 | 0.016864 | 0.0058251 | EXP | 148 of 150 | 0.062017 | 0.016721 | 0.086271 | EXP | 150 of 150 | 6.8512 | 0.017697 | 0.99899 | EXP | 150 of 150
18D25774 | 15.2 | 0.022621 | 0.00029984 | 0.80147 | EXP | 150 of 150 | 0.17171 | 0.018353 | 0.00047395 | EXP | 149 of 150 | -0.025936 | 0.017167 | 0.00046324 | EXP | 149 of 150 | 0.25035 | 0.015741 | 0.080629 | EXP | 150 of 150 | 6.5202 | 0.018675 | 0.99885 | EXP | 150 of 150
18D25776 | 15.8 | 0.019415 | 0.00025174 | 0.851 | EXP | 150 of 150 | 0.02169 | 0.018864 | 7.3086e-05 | EXP | 150 of 150 | -0.061282 | 0.015746 | 0.0011228 | EXP | 150 of 150 | 0.091354 | 0.01381 | 0.05221 | EXP | 150 of 150 | 5.3217 | 0.017426 | 0.99889 | EXP | 149 of 150
18D25777 | 18.3 | 0.030945 | 0.0002812 | 0.80495 | EXP | 149 of 150 | 0.46856 | 0.019 | 0.0093263 | EXP | 150 of 150 | -0.029739 | 0.017555 | 0.00077941 | EXP | 150 of 150 | 0.63169 | 0.015972 | 0.0060023 | EXP | 148 of 150 | 8.8041 | 0.019787 | 0.99849 | EXP | 150 of 150
18D25779 | 20.6 | 0.028536 | 0.00031515 | 0.7548 | EXP | 149 of 150 | 0.42466 | 0.021622 | 0.022791 | EXP | 150 of 150 | -0.038823 | 0.017068 | 0.0015675 | EXP | 149 of 150 | 0.69033 | 0.014844 | 0.0092494 | EXP | 149 of 150 | 7.8713 | 0.016897 | 0.99884 | EXP | 149 of 150
18D25780 | 22.5 | 0.031531 | 0.00029281 | 0.7818 | EXP | 150 of 150 | 0.6289 | 0.018154 | 0.012202 | EXP | 150 of 150 | -0.025301 | 0.016594 | 0.0012144 | EXP | 149 of 150 | 1.0471 | 0.017199 | 0.0094746 | EXP | 149 of 150 | 9.0872 | 0.017886 | 0.99871 | EXP | 150 of 150
18D25782 | 24 | 0.034507 | 0.00032416 | 0.73987 | EXP | 150 of 150 | 0.81077 | 0.018313 | 0.10284 | EXP | 150 of 150 | -0.029744 | 0.018672 | 0.00072696 | EXP | 150 of 150 | 1.2179 | 0.01382 | 0.0098647 | EXP | 148 of 150 | 10.0051 | 0.020771 | 0.99813 | EXP | 148 of 150
18D25784 | 26.5 | 0.067237 | 0.00041205 | 0.41294 | EXP | 150 of 150 | 2.4834 | 0.017578 | 0.44408 | EXP | 150 of 150 | 0.0038414 | 0.015719 | 0.0025923 | EXP | 144 of 150 | 3.7357 | 0.014537 | 0.58148 | EXP | 150 of 150 | 19.3154 | 0.017653 | 0.99846 | EXP | 150 of 150

## Project Info
Project Info |  | Analyst | Irradiation | X-pos | Y-pos | Z/H-pos | Project | Experiment | Nmb
18D25765 | 1.5 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25767 | 3.5 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25768 | 5.5 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25770 | 8.1 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25771 | 10.7 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25773 | 13.1 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25774 | 15.2 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25776 | 15.8 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25777 | 18.3 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25779 | 20.6 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25780 | 22.5 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25782 | 24 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1
18D25784 | 26.5 | Dan Miggins | 18-OSU-04 | 999 | 999 | 33.22 | Oregon\McClaughry (18-09) | 18D25761 | 1

## Sample Parameters
Sample Parameters |  | Sample | Material | Location | Standard Name | Standard | %1s | Standard Reference | Standard 40Ar/39Ar | %1s | J | %1s | Air 40Ar/36Ar | %1s | MDF (lin) | %1s | Volume Ratio | Sensitivity | Day | Month | Year | Hour | Min | Resist
[6 empty] | (in Ma) | [11 empty] | (mol/volt)
18D25765 | 1.5 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 21 | 47 | 1
18D25767 | 3.5 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 22 | 8 | 1
18D25768 | 5.5 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 22 | 18 | 1
18D25770 | 8.1 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 22 | 38 | 1
18D25771 | 10.7 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 22 | 48 | 1
18D25773 | 13.1 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 23 | 8 | 1
18D25774 | 15.2 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 23 | 18 | 1
18D25776 | 15.8 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 23 | 39 | 1
18D25777 | 18.3 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 23 | OCT | 2018 | 23 | 49 | 1
18D25779 | 20.6 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 24 | OCT | 2018 | 0 | 9 | 1
18D25780 | 22.5 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 24 | OCT | 2018 | 0 | 19 | 1
18D25782 | 24 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 24 | OCT | 2018 | 0 | 39 | 1
18D25784 | 26.5 | 51-MCB-DRJ-17 | Amphibole | Mill Creek Buttes | FCT-NM (4C21-18) | 28.201 | 0.082 | Kuiper et al (2008) | 10.0352 | 0.074 | 0.0015662 | 0.074 | 305.306 | 0.106 | 0.99196 | 0.063413 | 1 | 4.8e-14 | 24 | OCT | 2018 | 1 | 0 | 1

## Irradiation Constants
Irradiation Constants |  | 40/36(a) | %1s | 40/36(c) | %1s | 38/36(a) | %1s | 38/36(c) | %1s | 39/37(ca) | %1s | 38/37(ca) | %1s | 36/37(ca) | %1s | 40/39(k) | %1s | 38/39(k) | %1s | 36/38(cl) | %1s | K/Ca | %1s | K/Cl | %1s | Ca/Cl | %1s
18D25765 | 1.5 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25767 | 3.5 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25768 | 5.5 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25770 | 8.1 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25771 | 10.7 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25773 | 13.1 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25774 | 15.2 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25776 | 15.8 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25777 | 18.3 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25779 | 20.6 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25780 | 22.5 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25782 | 24 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0
18D25784 | 26.5 | 295.5 | 0 | 0.018 | 35 | 0.1869 | 0 | 1.493 | 3 | 0.0006425 | 0.92 | 0.00018 | 9.63 | 0.0002703 | 0.17 | 0.000607 | 9.65 | 0.012077 | 0.09 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0

## Age Plateau
18D25761.AGE >>> 51-MCB-DRJ-17 >>> OREGON | MCCLAUGHRY (18-09) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
1.91 ± 0.22
TOTAL FUSION
1.52 ± 0.40
NORMAL ISOCHRON
1.25 ± 1.85
INVERSE ISOCHRON
1.16 ± 0.91
MSWD (PROBABILITY)
0.98 (43%)
Sample Info
Amphibole
Mill Creek Buttes
Dan Miggins
IRR = 18-OSU-04 (4C21-18)
J = 0.00156622 ± 0.00000116

## K-Ca Plateau
18D25761.AGE >>> 51-MCB-DRJ-17 >>> OREGON | MCCLAUGHRY (18-09) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
1.91 ± 0.22
TOTAL FUSION
1.52 ± 0.40
NORMAL ISOCHRON
1.25 ± 1.85
INVERSE ISOCHRON
1.16 ± 0.91
Sample Info
Amphibole
Mill Creek Buttes
Dan Miggins
IRR = 18-OSU-04 (4C21-18)
J = 0.00156622 ± 0.00000116

## Normal Isochron
18D25761.AGE >>> 51-MCB-DRJ-17 >>> OREGON | MCCLAUGHRY (18-09) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
1.91 ± 0.22
TOTAL FUSION
1.52 ± 0.40
NORMAL ISOCHRON
1.25 ± 1.85
INVERSE ISOCHRON
1.16 ± 0.91
MSWD (PROBABILITY)
1.12 (35%)
40AR/36AR INTERCEPT
314.8 ± 54.1
Sample Info
Amphibole
Mill Creek Buttes
Dan Miggins
IRR = 18-OSU-04 (4C21-18)
J = 0.00156622 ± 0.00000116

## Inverse Isochron
18D25761.AGE >>> 51-MCB-DRJ-17 >>> OREGON | MCCLAUGHRY (18-09) PROJECT
Ar-Ages in Ma
WEIGHTED PLATEAU
1.91 ± 0.22
TOTAL FUSION
1.52 ± 0.40
NORMAL ISOCHRON
1.25 ± 1.85
INVERSE ISOCHRON
1.16 ± 0.91
MSWD (PROBABILITY)
1.01 (40%)
SPREADING FACTOR
4.4%
40AR/36AR INTERCEPT
317.7 ± 52.3
Sample Info
Amphibole
Mill Creek Buttes
Dan Miggins
IRR = 18-OSU-04 (4C21-18)
J = 0.00156622 ± 0.00000116