# ANALYTICAL METHODS

Geochemical analyses of 235 rock chip and water well cutting samples are included in the attached geochemical database. The geochemical database includes samples analyzed by 3 different laboratories. The 151 samples collected by Oregon Department of Geology and Mineral Industries staff were trimmed and submitted to either the Washington State University GeoAnalytical Laboratory (WSU) at Pullman Washington or the X-Ray Analytical Laboratories (XRAL) at Toronto, Canada. Both laboratories use glass beads fused with lithium tetraborate.  The Washington State University GeoAnalytical Laboratory’s uses an automatic Rigaku 3370 spectrometer. Each element analysis is fully corrected for line interference and matrix effects. See Hooper and others (1993) for a more complete description of Washington State University GeoAnalytical Laboratory analytical methods. XRAL uses a Siemens SRS 3000 sequential X-Ray fluoursence spectrometer which reportedly gives instrumental precision on most elements of about 0.5%. Results from both labs have been normalized on a volatile-free basis and recalculated with total iron expressed as FeO. The database also includes analyses Dr. Marvin Beeson of Portland State University of 84 water well samples that were analyzed at Hanford.

Age determinations for ash samples from the Terry Trailers and Bingaman wells were performed by the Geochronology Lab, Geophysical Institute, University of Alaska Fairbanks. Ages were derived using by laser ablation stepwise 40Ar/39Ar age determinations hand picked, washed glass shards. Samples were irradiated for 2 MW hours at the McMaster University Nuclear Reactor, Ontario, Canada. Irradiated samples were subsequently fused with a coherent 6W Ar-ion laser and argon isotopic rations measured on a VG3600 mass spectrometer at the University of Alaska Geochronology Laboratory. See McConnell (1995) for more details.

(Hooper, P.R., Johnson, D.M., and Conrey, R.M., 1993, Major- and trace-element analyses of rocks and minerals by automated X-ray spectrometry:  Washington State University Geology Department Open-File Report, 36 p.)

(McConnell, V.S., Hydrothermal history of the Long Valley caldera, California:  Life after Collapse:  Fairbanks, Alaska; University of Alaska Fairbanks Phd dissertation, 238 p.)